## Colocation Facilities
Colocation Facilities & Business Continuity – Current State Discovery
Domain | Component | Current State | Datacenter (SAH) | Datacenter (HSN) | Validation Required
Facility | Colocation Provider Name | ONE HITS | Sault Area Hospital | Health Science North
| Facility Tier Rating | Tier II / III / IV | III | III
| Data Hall Location | Building / Suite | Building | Building
| Mailing Address | Physical Address | 750 Great Northern Rd, Sault Ste. Marie, ON P6B 0A8 | 41 Ramsey Lake Rd, Greater Sudbury, ON P3E 5J1
| Contract Term | Lease Expiry | TBC | TBC
| Rack Footprint | Number of Cabinets | 3 | 3
| Expansion Capacity | Additional Rack Availability | TBC | TBC
| Datacenter Role | Primary / Production Site | YES | NO
| Offices Supported | Corporate Locations | 23 Hospitals | 23 Hospitals
| Equipment Ownership | Infrastructure Ownership Model | ONE HITS Owned | ONE HITS Owned
| Hardware Warranty Coverage | Vendor Support Coverage | Under Warranty | Under Warranty
| Future Expansion Capacity | Additional Rack Space Available | TBC | TBC
Power | UPS Infrastructure | Enterprise UPS System | Present | Present
| UPS Backup Duration | Battery Runtime | 90 Minutes | 90 Minutes
| Generator Infrastructure | Dual Generators | Present | Present
| Generator Runtime | Fuel Capacity | Up to 72 Hours | Up to 72 Hours
| Rack Power Capacity | Maximum Power per Rack | Up to 50 kW | Up to 50 kW
| Power Distribution | Dual Independent Power Sources to Racks | Yes | Yes
| Rack Power Monitoring | Per-Rack Monitoring Implemented | Yes | Yes
Cooling | HVAC Infrastructure | Redundant HVAC Systems | Present | Present
| HVAC Maintenance | Monthly & Periodic Maintenance | Implemented | Implemented
Fire Protection | Fire Suppression System | Installed | Present | Present
| Fire Suppression Maintenance | Monthly & Periodic Maintenance | Implemented | Implemented
Security | Physical Security Personnel | Onsite Security | 24x7x365 | 24x7x365
| CCTV Monitoring | Continuous Surveillance | 24x7x365 | 24x7x365
| Video Retention | CCTV Retention Period | Minimum 30 Days | Minimum 30 Days
| Visitor Management | Escort Required | TBC | TBC
| Facility Access Control | Badge / Biometric | TBC | TBC
Operations | Facilities Operations Team | Onsite Support | Present | Present
| Preventative Maintenance Program | UPS, HVAC, Fire Systems | Monthly & Periodic | Monthly & Periodic
| Asset Lifecycle Management | Vendor Warranty Coverage | Active | Active
| Remote Hands Service | 24x7 Availability | YES | YES
| Incident Management Process | Defined | In place | In place
| Change Management Process | Defined | In place | In place
Network | Internet Providers | Carrier Names | Bell, Shaw | Bell, Shaw
| Meet-Me Room Access | MMR - Available | TBC | TBC
Compliance | Audit Reports Available | Yes / No | TBC | TBC
DR & Resiliency | Geographic Separation | Distance Between Sites | 310 KM
| Facility Failover Strategy | Active/Active or Active/Passive | Active | Passive

## ColocationFacilitiesObservation
Colocation Facilities & Business Continuity – High Availability Assessment
Layer | Current State | Assessment
Geographic Diversity | Datacenters located in Sault Area Hospital and Health Science North (Sudbury) | High Availability – Geographically separated facilities reduce the risk of a single-site outage impacting business operations.
UPS Infrastructure | 90-minute UPS backup at both sites | High Availability – Provides sufficient battery runtime to support critical systems during utility outages and generator startup events.
Generator Infrastructure | Dual generators at each datacenter | High Availability – Redundant generator architecture minimizes risk of extended service disruption during power failures.
Generator Runtime | Up to 72 hours of backup power | High Availability – Supports sustained operations during prolonged utility outages, subject to fuel replenishment procedures.
Rack Power Distribution | Dual independent power feeds to all racks | High Availability – Eliminates single points of failure at the rack level and supports redundant power supply configurations.
Rack Power Capacity | Up to 50 kW per rack | High Availability – Supports high-density compute, storage, and networking infrastructure without power constraints.
Rack Power Monitoring | Per-rack power monitoring implemented | Best Practice – Enables proactive capacity management, power utilization tracking, and early identification of power-related issues.
HVAC Infrastructure | Redundant HVAC systems at both sites | High Availability – Maintains environmental stability and reduces risk of service interruption due to cooling failures.
Facilities Maintenance | Monthly and periodic maintenance of UPS, HVAC, and fire systems | Best Practice – Preventative maintenance program supports operational reliability and equipment longevity.
Fire Suppression | Fire suppression systems deployed in both facilities | High Availability – Protects critical infrastructure and reduces risk of service disruption from fire-related incidents.
Physical Security | Onsite security personnel 24x7x365 | High Availability – Continuous physical security presence reduces risk of unauthorized access and operational disruptions.
CCTV Surveillance | Continuous monitoring with minimum 30-day retention | Best Practice – Provides auditability, incident investigation support, and enhanced physical security controls.
Hardware Support | All infrastructure assets under active warranty coverage | High Availability – Vendor support and replacement services reduce recovery times during hardware failures.
Facilities Operations | Dedicated operations and maintenance teams | High Availability – Operational oversight and maintenance activities support continuous service availability.
Colocation Facilities & Business Continuity – Risks and Observations
Area | Observation | Risk Level | Recommendation
Datacenter Operating Model | The Sault Area Hospital and Health Science North (Sudbury) datacenters operate in an Active/Passive configuration supporting 23 office Hospitals | Medium | Review long-term strategy to determine whether the current Active/Passive model aligns with business availability objectives and future growth requirements.
Critical Application Availability | Meditech Expanse is identified as a mission-critical application with a stated requirement for zero tolerance of unplanned downtime | High | Validate that current infrastructure, failover procedures, and recovery objectives support the application's availability requirements.
Disaster Recovery Failover | Failover to the secondary datacenter requires manual intervention and multiple operational activities during a site outage | High | Review and document failover procedures, identify automation opportunities, and conduct periodic failover testing.
Recovery Time Objectives | Documented RTOs exist for critical services including Meditech Expanse. However, actual failover execution complexity may impact achievement under real outage conditions | High | Validate that DR procedures, testing outcomes, and operational readiness consistently meet defined RTO targets.
Inter-Datacenter Latency Requirements | Meditech Expanse requires latency below 2 ms; datacenters are separated by approximately 310 km over a 10 Gbps dark fiber link. This physical separation may inherently limit the ability to consistently meet strict latency requirements for active workload mobility. | High | Option A: Engage ISP/dark fiber provider to validate whether path optimization (e.g., route engineering, direct wave services, or lower-latency optical path design) is possible to minimize latency within physical constraints and confirm if application requirements can be realistically achieved in the current architecture. Option B: Evaluate a strategic architecture shift for Meditech Expanse to a cloud-based DR or active standby model using a hyperscaler to reduce dependency on long-distance synchronous latency-sensitive inter-datacenter connectivity, and consider decommissioning or reducing reliance on the secondary physical DR site for this workload.
Geographic Separation | Datacenters are connected via a 10 Gbps dark fiber link spanning approximately 310 km | Medium | Periodically review bandwidth utilization, latency, and growth requirements to ensure continued support of critical applications and replication services.
Inter-Site Dependency | Business continuity, storage replication, disaster recovery, and application recovery processes depend on the availability of the inter-datacenter dark fiber connection | Medium | Review network resiliency, carrier diversity, and contingency procedures for inter-site connectivity failures.
DR Operational Readiness | The effort required to recover Meditech Expanse during a primary site outage has not been validated through discovery | High | Perform end-to-end disaster recovery testing and validate operational readiness against business expectations.
Business Impact | A prolonged outage of the primary datacenter could significantly impact clinical and operational services across all supported Hospital locations | High | Review business continuity plans and ensure recovery procedures are aligned with Hospitals criticality requirements.
Colocation Facilities & Business Continuity – Executive Assessment Ratings
Domain | Assessment Ratings
Facility Infrastructure
Geographic Resiliency
Power Infrastructure
Cooling Infrastructure
Fire Protection
Physical Security
Facilities Operations & Maintenance
Equipment Lifecycle Management
Rack Density & Power Capacity
Operational Readiness
Scalability
Business Continuity Support
Disaster Recovery Readiness
Inter-Site Resiliency

## SCD
Storage Compute & Data Protection – Datacenter Infrastructure
Domain | Component | Current State Discovery | Datacenter (SAH) | Datacenter (HSN) | Validation Required
Storage | Enterprise Storage Array | Dell PowerMax 2000 | 1 | 1
| NAS / File Storage | Dell PowerScale A310 Cluster | 6 Nodes | 6 Nodes
| SAN Fabric | Dell MDS9148 Fibre Channel Switch | 2 | 2
Backup | Backup Appliance | Dell Data Domain 6900 | 1 | 1
| Backup Software | Dell NetWorker | Present | Not listed
| Replication Appliance | Dell RecoveryPoint Appliances 60TB remote / 20TB local replication configured | 2 Appliances | 2 Appliances
Cyber Recovery | Cyber Recovery Vault | DD6400 + 2 Dell Servers + 2 Dell S4112F | Present | Not listed
| CyberSense | Present | Validate malware analytics integration | Not listed
Security Monitoring | Endpoint Detection & Response (EDR) | CrowdStrike Falcon | Present | Present
Security Monitoring | Security Information & Event Management (SIEM) | CrowdStrike Platform | Present | Present
Security Monitoring | Infrastructure Monitoring Coverage | Compute, Storage, Virtualization and Infrastructure Assets | Present | Present
Security Monitoring | Threat Detection & Incident Response | Centralized Monitoring and Alerting | Present | Present
Compute Infrastructure
Domain | Component | Current State Discovery | Datacenter (SAH) | Datacenter (HSN) | Validation Required
Compute | Blade Servers | Cisco UCS B200 | 20 | 20
| Blade Chassis | Cisco UCS Chassis | 6 | 6
Virtualization | VMware vSphere Licensing | 76 Processor Licenses | Yes | Shared
| VMware Site Recovery Manager | 475 Enterprise Licenses | Yes | Shared
| VMware Clusters | TBD | TBD | TBD
Storage Network Infrastructure
Domain | Component | Current State Discovery | Datacenter (SAH) | Datacenter (HSN) | Validation Required
Network | Storage Switches | Dell S4112F | Present | Present
| Fiber channel SAN switches | Dell MDS9148 | Present | Present

## SCD_Observations
Storage Compute & Data Protection - High Availability Assessment
Layer | Current State | Assessment
Enterprise Storage | Dell PowerMax 2000 deployed in both datacenters | High Availability – Enterprise storage arrays are deployed across both datacenters, providing resilient storage services and eliminating single-site dependency.
File Storage | Dell PowerScale A310 clusters deployed in both datacenters | High Availability – Distributed scale-out NAS architecture provides resilient file services and supports continued operations during component failures.
SAN Fabric | Dual Dell MDS9148 Fibre Channel switches per datacenter | High Availability – Redundant SAN fabrics provide multiple storage paths and minimize the risk of storage connectivity outages.
Backup Infrastructure | Dell Data Domain 6900 deployed in both datacenters | High Availability – Backup storage infrastructure is available at both sites, supporting data protection and recovery operations.
Backup Replication | Dell RecoveryPoint deployed across both datacenters | High Availability – Replication services support data recovery and business continuity objectives across geographically separated sites.
Compute Infrastructure | Cisco UCS B200 blade servers deployed across both datacenters | High Availability – Compute resources are distributed across both datacenters, reducing dependency on a single location and supporting workload resiliency.
Compute Chassis | Six UCS chassis per datacenter | High Availability – Multiple chassis provide hardware redundancy and capacity distribution across the compute environment.
Virtualization Platform | VMware vSphere deployed across both datacenters | TBC
Disaster Recovery Platform | VMware SRM licensed and available | TBC
Cyber Recovery Infrastructure | Cyber Recovery Vault & Cyber Sense deployed only in Datacenter A | Limited Availability – CyberSense provides ransomware and corruption detection capabilities, but analytics services are not geographically distributed.
Application Cyber Protection | Cyber Recovery currently protects Meditech LIVE only | Partial Coverage – Cyber recovery controls are implemented for only Meditech application; however, protection does not currently extend to other business-critical workloads due to space limitations.
Endpoint Detection & Response | CrowdStrike EDR deployed across datacenter infrastructure | High Availability – Cloud-delivered endpoint protection provides continuous monitoring, threat detection, and response capabilities across infrastructure assets.
Security Monitoring Platform | CrowdStrike SIEM services implemented | High Availability – Centralized security monitoring and event analytics enhance visibility and support rapid incident detection and response activities.
Scalability Assessment
Component | Current State | Scalability Assessment
Dell PowerMax Storage | Deployed in both datacenters | Excellent – Enterprise storage platform provides significant capacity expansion capabilities and supports future workload growth with minimal architectural changes.
Dell PowerScale Storage | 6-node clusters in both datacenters | Excellent – Scale-out architecture enables non-disruptive expansion of capacity and performance by adding additional nodes as business requirements increase.
Dell Data Domain | Deployed in both datacenters | Good – Backup storage infrastructure supports future growth; ongoing capacity planning should ensure alignment with backup retention and data growth requirements.
Dell RecoveryPoint | Replication appliances deployed at both sites | Good – Replication platform supports growth of protected workloads; capacity and replication throughput should be periodically reviewed as data volumes increase.
SAN Infrastructure | Dual Fibre Channel fabrics | Good – Redundant SAN architecture supports additional storage and compute connectivity while maintaining resiliency.
Cisco UCS Platform | 40 UCS B200 servers across two sites | Excellent – Blade infrastructure provides flexibility to expand compute capacity through additional server blades and resource scaling.
VMware Platform | Enterprise virtualization environment | TBC
VMware SRM | Enterprise licensing available | TBC
Cyber Recovery Vault | Single-site deployment | Moderate – Existing platform supports cyber recovery requirements for current protected workloads; scalability is constrained by single-site deployment and operational scope.
CyberSense | Single-site deployment | Moderate – Analytics platform supports current cyber recovery use cases; expansion of protected workloads may require additional sizing and coverage review.
Cyber Recovery Coverage | Limited to Meditech application | Limited – Current cyber recovery scope protects a single critical application and does not yet scale across the broader application portfolio.
Endpoint Detection & Response | CrowdStrike Falcon Platform | Excellent – Cloud-native EDR platform scales efficiently as additional servers, virtual machines, and infrastructure assets are onboarded.
Security Information & Event Management | CrowdStrike SIEM Services | Excellent – Cloud-delivered SIEM architecture supports growth in log volume, monitored systems, and security analytics requirements without significant infrastructure investment.
Security Monitoring Coverage | Datacenter Infrastructure Assets | Excellent – Monitoring platform can be extended to additional infrastructure, workloads, and business applications as the environment grows.
Risks and Observations
Area | Observation | Risk Level | Recommendation
Cyber Recovery Coverage | Cyber Recovery Vault and CyberSense currently protect only the Meditech application. | High | Assess additional critical applications for inclusion within the Cyber Recovery program.
Cyber Recovery Scope | Cyber recovery processes are limited to a subset of business services. | High | Establish a cyber recovery roadmap aligned to business-critical application tiers.
Cyber Recovery Site Dependency | Cyber Recovery Vault and CyberSense are deployed only in Datacenter A. | Low | Review cyber recovery strategy and determine whether geographic diversification is required to meet organizational recovery objectives.
Backup Platform Coverage | Dell NetWorker deployment is only identified in Datacenter A during discovery. | Low | Validate backup management architecture and confirm operational design.
Executive Assessment Ratings
Domain | Assessment Ratings
Compute Infrastructure
Virtualization Platform
Enterprise Storage
File Storage
SAN Infrastructure
Backup & Recovery
Replication Services
High Availability
Scalability
Disaster Recovery Readiness
Cyber Recovery Infrastructure
Cyber Recovery Coverage
Endpoint Detection & Response

## Cisco-ACI
Network Infrastructure – Cisco ACI Current State
Domain | Component | Datacenter (SAH) | Datacenter (HSN) | HA / Resiliency | Validation Required
Network | Cisco ACI Deployment Model | Multi-Pod | Multi-Pod | Dual Pod Architecture
| ACI Pod ID | Pod 1 | Pod 2 | Active Fabric
| TEP Network | 10.255.0.0/16 | 10.254.0.0/16 | Unique per Pod
| APIC Controllers | APIC1, APIC2 | APIC3, APIC4 | Distributed Controller Cluster
| Spine Layer | Spine101, Spine102 | Spine111, Spine112 | Dual Spine Redundancy
| Leaf Layer | Leaf201, Leaf202 | Leaf301, Leaf302 | Dual Leaf Redundancy |  | Number of switches to be confirm
| Inter-Pod Network | DCI1, DCI2 | DCI3, DCI4 | Multi-Pod Connectivity
ACI Tenant and Routing Design
Category | Current State | Validation Required
Tenant | OneProd
VRF | Default_VRF
L3Out | Configured
External Routed Domain | OneProd_ExRoutedDom
VLAN Pool | OneProd_StaticVLPool
External Connectivity | Via L3Out
Segmentation Model | VRF-based tenant isolation
ACI Connectivity Matrix Datacenter SAH (Pod 1)
Source | Destination | Speed | Redundancy | Validation Required
APIC1 | Leaf201 & Leaf202 | 10G | Dual Connected
APIC2 | Leaf201 & Leaf202 | 10G | Dual Connected
Leaf201 | Spine101 & Spine102 | 100G | Fully Redundant
Leaf202 | Spine101 & Spine102 | 100G | Fully Redundant
Spine101 | DCI1 & DCI2 | 100G | Redundant
Spine102 | DCI1 & DCI2 | 100G | Redundant
ES2 N9K-C9348GC-FXP | Pod2 IPN | 10G | Single Path Validation Required
Palo Alto Firewall 5200 (Active) | Leaf201 & Leaf202 (Inside Interfaces) | 2 × 10G | Fully Redundant |  | Vendor support EOL 31st Aug 2028, PAN OS 11.2
Palo Alto Firewall 5200 (Active) | Spine101 & Spine102 (Outside Interfaces) | 2 × 10G | Fully Redundant
Cisco ISE Primary Node | ACI Fabric | 10G/Server Connectivity | Fully Redundant
Citrix NetScaler | ACI Fabric | Application Connectivity | Load Balancing for VDI & Meditech Live
Ontario Health WAN Circuit | Palo Alto Firewall | 10G | Primary WAN Connectivity
ISP Internet Circuit | Palo Alto Firewall | 10G | Internet Connectivity
Panorama Management | Palo Alto Firewall Cluster | Management Network | Centralized Firewall Management
Cisco DUO MFA Service | Integrated with VPN / Application Authentication | Secure Authentication | Cloud Hosted
Microsoft MFA | M365 Applications | Secure Authentication | M365 Tenant
ACI Connectivity Matrix Datacenter HSN (Pod 2)
Source | Destination | Speed | Redundancy | Validation Required
APIC3 | Leaf301 & Leaf302 | 10G | Dual Connected
APIC4 | Leaf301 & Leaf302 | 10G | Dual Connected
Leaf301 | Spine111 & Spine112 | 100G | Fully Redundant
Leaf302 | Spine111 & Spine112 | 100G | Fully Redundant
Spine111 | DCI3 & DCI4 | 100G | Redundant
Spine112 | DCI3 & DCI4 | 100G | Redundant
ES2 N9K-C9348GC-FXP | Pod1 IPN | 10G | Single Path Validation Required
Palo Alto Firewall 5200 (Passive) | Leaf301 & Leaf302 (Inside Interfaces) | 2 × 10G | Fully Redundant |  | Vendor support EOL 31st Aug 2028, PAN OS 11.2
Palo Alto Firewall 5200 (Passive) | Spine111 & Spine112 (Outside Interfaces) | 2 × 10G | Fully Redundant
Cisco ISE Secondary Node | ACI Fabric | 10G/Server Connectivity | Fully Redundant
Citrix NetScaler (Secondary) | ACI Fabric | Application Connectivity | Load Balancing for VDI & Meditech Live
Ontario Health WAN Circuit | Palo Alto Firewall | 10G | Secondary WAN Connectivity (Standby)
ISP Internet Circuit | Palo Alto Firewall | 10G | Secondary Internet Connectivity (Standby)
Panorama Management | Palo Alto Firewall Cluster | Management Network | Centralized Firewall Management
Cisco DUO MFA Service | Integrated with VPN / Application Authentication | Secure Authentication | Cloud Hosted
Microsoft MFA | M365 Applications | Secure Authentication | M365 Tenant
Inter-Datacenter Connectivity Assessment
Connection | Speed | Status | Observation | Validation Required
DCI1 ↔ DCI3 | 10G | Active | Primary Inter-Pod Link
DCI2 ↔ DCI4 | 10G | Configured but disconnected | Manual Failover Required
Inter-Pod Network | Multi-Pod | Operational | Validate latency and MTU
Spine to DCI | 100G | Fully Redundant | Strong design
DCI Diversity | Partial | Requires Validation | Secondary DCI path not active
ACI Routing Architecture
Layer | Component | Current State | Validation Required
Underlay Network | Routing Protocol | OSPF
Underlay Network | OSPF Area | Area 0.0.0.0
Underlay Network | VRF | infra (tn-infra)
Underlay Network | Purpose | Fabric infrastructure routing (TEP reachability)
Overlay Network | Tenant | OneProd
Overlay Network | VRF | Default_VRF
Overlay Network | External Connectivity | L3Out
Overlay Network | Routing Protocol | BGP
Overlay Network | BGP ASN | 65001
Overlay Network | External Routed Domain | OneProd_ExRoutedDom
Overlay Network | VLAN Pool | OneProd_StaticVLPool

## Cisco-ACI_Observations
Cisco ACI - High Availability Assessment
Layer | Current State | Assessment
APIC Controllers | 4 APIC Controllers distributed across Pod1 and Pod2 | High Availability – Controller redundancy across sites provides resilient fabric management
Spine Layer | 2 Spines per Pod (4 total) | High Availability – No single point of failure within each pod
Leaf Layer | 4 Leafs per Pod (8 total) | High Availability – Redundant leaf architecture supporting endpoint resiliency
Fabric Connectivity | Redundant 100G Leaf-to-Spine and Spine-to-DCI links | High Availability – Fully redundant fabric paths
TEP Network | Dedicated TEP ranges (10.255.0.0/16 and 10.254.0.0/16) | Best Practice – Supports scalable Multi-Pod architecture
Underlay Routing | OSPF Area 0.0.0.0 within tn-infra VRF | High Availability – Industry-standard underlay design
Tenant Segmentation | Tenant-based VRF architecture (OneProd / Default_VRF) | Best Practice – Strong logical segmentation
L3Out Routing | BGP ASN 65001 configured for external routing | High Availability – Dynamic routing supports automated route convergence
DCI Connectivity | DCI1↔DCI3 active, DCI2↔DCI4 configured but disconnected | Medium Risk – Reduced inter-site path redundancy
Inter-Pod Failover | Partial automation with manual DCI failover dependency | Improvement Opportunity – Validate operational procedures and failover testing
Firewall Infrastructure | Palo Alto 5200 Firewalls deployed Active/Passive across both datacenters | High Availability – Enterprise grade perimeter security
Firewall Connectivity | Dual 10G inside connections to ACI Leafs and dual 10G outside connections to ACI Spines | High Availability – Redundant data paths
WAN Connectivity | Dual 10G WAN circuits to Ontario Health and Internet services | High Availability – Redundant external connectivity
Identity Services | Cisco ISE Primary and Secondary nodes deployed across datacenters | High Availability – Redundant Authentication Authorization Accounting (AAA) services
VPN Services | GlobalProtect VPN integrated with Cisco ISE and Palo Alto | High Availability – Resilient remote access platform
Scalability Assessment
Component | Current State | Scalability Assessment
APIC Cluster | 4 APIC Controllers | Good – Supports current dual-pod deployment
Spine Layer | 2 Spines per Pod | Good – Adequate for current scale; future growth may require additional spines
Leaf Layer | 2 Leafs per Pod | Good – Supports current workload density; expansion possible through additional leafs
TEP Address Space | /16 per Pod | Excellent – Significant growth capacity
Tenant Architecture | VRF-based segmentation | Excellent – Supports additional tenants and application isolation
Network Segmentation EPG/Bridge Domain Model | One EPG to One BD per VLAN | Excellent – Operationally simple and scalable
Underlay Routing | OSPF Area 0 | Excellent – Scalable and operationally simple
External Connectivity | BGP-based L3Out | Excellent – Supports future network expansion
Inter-Pod Connectivity | Single active 10G DCI path | Moderate – May become a bottleneck during DR events, storage replication, or workload mobility
Multi-Pod Design | Cisco ACI Multi-Pod Architecture | Excellent – Designed for large-scale datacenter growth
Firewall Infrastructure | Palo Alto Active/Passive deployment | Good – Supports current throughput and security requirements
WAN Connectivity | Redundant 10G WAN and Internet circuits | Good – Supports current connectivity demands
Identity Services | Cisco ISE distributed across both sites | Excellent – Supports infrastructure growth and policy expansion
VPN Services | GlobalProtect integrated with ISE | Excellent – Scalable remote access architecture
Risks and Observations
Area | Observation | Risk Level | Recommendation
DCI Redundancy | DCI2↔DCI4 link is configured but not physically connected. Inter-pod communication currently relies on a single active DCI path (DCI1↔DCI3). | Medium | Activate and validate the secondary DCI path to provide full inter-site path redundancy.
Inter-Pod Bandwidth | Active inter-pod connectivity is limited to 10G between datacenters. | High | Validate bandwidth utilization against storage replication, DR recovery, workload mobility, and future growth requirements.
DCI Failover | Failover to the secondary DCI path requires manual intervention. | Medium | Review failover procedures and evaluate opportunities for automated failover.
DR Readiness | Disaster recovery testing frequency and failover validation were not reviewed during discovery. | Medium | Review DR test results, recovery procedures, and failback processes.
Storage and Network Dependency | PowerMax, RecoveryPoint, Data Domain replication, and VMware SRM rely on inter-datacenter connectivity; network capacity requirements have not been validated. | Medium | Validate network capacity and resiliency against recovery objectives and replication workloads.
Executive Assessment Ratings
Domain | Assessment Ratings
Network Architecture
Security Architecture
Identity & Access Management
High Availability
Scalability
Disaster Recovery Readiness
Operational Maturity