## Colocation Facilities
Colocation Facilities & Business Continuity – Current State Discovery
Domain | Component | Current State | Datacenter (SAH) | Datacenter (HSN) | Validation Required
Facility | Colocation Provider Name | ONE HITS | Sault Area Hospital | Health Science North
| Facility Tier Rating | Tier II / III / IV | III | III
| Data Hall Location | Building / Suite | Building | Building
| Mailing Address | Physical Address | 750 Great Northern Rd, Sault Ste. Marie, ON P6B 0A8 | 41 Ramsey Lake Rd, Greater Sudbury, ON P3E 5J1
| Contract Term | Lease Expiry | TBC | TBC
| Rack Footprint | Number of Cabinets | 3 | 3
| Expansion Capacity | Additional Rack Availability | TBC | TBC
| Datacenter Role | Primary / Production Site | YES | NO
| Offices Supported | Corporate Locations | 23 Hospitals | 23 Hospitals
| Equipment Ownership | Infrastructure Ownership Model | ONE HITS Owned | ONE HITS Owned
| Hardware Warranty Coverage | Vendor Support Coverage | Under Warranty | Under Warranty
| Future Expansion Capacity | Additional Rack Space Available | TBC | TBC
Power | UPS Infrastructure | Enterprise UPS System | Present | Present
| UPS Backup Duration | Battery Runtime | 90 Minutes | 90 Minutes
| Generator Infrastructure | Dual Generators | Present | Present
| Generator Runtime | Fuel Capacity | Up to 72 Hours | Up to 72 Hours
| Rack Power Capacity | Maximum Power per Rack | Up to 50 kW | Up to 50 kW
| Power Distribution | Dual Independent Power Sources to Racks | Yes | Yes
| Rack Power Monitoring | Per-Rack Monitoring Implemented | Yes | Yes
Cooling | HVAC Infrastructure | Redundant HVAC Systems | Present | Present
| HVAC Maintenance | Monthly & Periodic Maintenance | Implemented | Implemented
Fire Protection | Fire Suppression System | Installed | Present | Present
| Fire Suppression Maintenance | Monthly & Periodic Maintenance | Implemented | Implemented
Security | Physical Security Personnel | Onsite Security | 24x7x365 | 24x7x365
| CCTV Monitoring | Continuous Surveillance | 24x7x365 | 24x7x365
| Video Retention | CCTV Retention Period | Minimum 30 Days | Minimum 30 Days
| Visitor Management | Escort Required | TBC | TBC
| Facility Access Control | Badge / Biometric | TBC | TBC
Operations | Facilities Operations Team | Onsite Support | Present | Present
| Preventative Maintenance Program | UPS, HVAC, Fire Systems | Monthly & Periodic | Monthly & Periodic
| Asset Lifecycle Management | Vendor Warranty Coverage | Active | Active
| Remote Hands Service | 24x7 Availability | YES | YES
| Incident Management Process | Defined | In place | In place
| Change Management Process | Defined | In place | In place
Network | Internet Providers | Carrier Names | Bell, Shaw | Bell, Shaw
| Meet-Me Room Access | MMR - Available | TBC | TBC
Compliance | Audit Reports Available | Yes / No | TBC | TBC
DR & Resiliency | Geographic Separation | Distance Between Sites | 310 KM
| Facility Failover Strategy | Active/Active or Active/Passive | Active | Passive

## ColocationFacilitiesObservation
Colocation Facilities & Business Continuity – High Availability Assessment
Layer | Current State | Assessment
Geographic Diversity | Datacenters located in Sault Area Hospital and Health Science North (Sudbury) | High Availability – Geographically separated facilities reduce the risk of a single-site outage impacting business operations.
UPS Infrastructure | 90-minute UPS backup at both sites | High Availability – Provides sufficient battery runtime to support critical systems during utility outages and generator startup events.
Generator Infrastructure | Dual generators at each datacenter | High Availability – Redundant generator architecture minimizes risk of extended service disruption during power failures.
Generator Runtime | Up to 72 hours of backup power | High Availability – Supports sustained operations during prolonged utility outages, subject to fuel replenishment procedures.
Rack Power Distribution | Dual independent power feeds to all racks | High Availability – Eliminates single points of failure at the rack level and supports redundant power supply configurations.
Rack Power Capacity | Up to 50 kW per rack | High Availability – Supports high-density compute, storage, and networking infrastructure without power constraints.
Rack Power Monitoring | Per-rack power monitoring implemented | Best Practice – Enables proactive capacity management, power utilization tracking, and early identification of power-related issues.
HVAC Infrastructure | Redundant HVAC systems at both sites | High Availability – Maintains environmental stability and reduces risk of service interruption due to cooling failures.
Facilities Maintenance | Monthly and periodic maintenance of UPS, HVAC, and fire systems | Best Practice – Preventative maintenance program supports operational reliability and equipment longevity.
Fire Suppression | Fire suppression systems deployed in both facilities | High Availability – Protects critical infrastructure and reduces risk of service disruption from fire-related incidents.
Physical Security | Onsite security personnel 24x7x365 | High Availability – Continuous physical security presence reduces risk of unauthorized access and operational disruptions.
CCTV Surveillance | Continuous monitoring with minimum 30-day retention | Best Practice – Provides auditability, incident investigation support, and enhanced physical security controls.
Hardware Support | All infrastructure assets under active warranty coverage | High Availability – Vendor support and replacement services reduce recovery times during hardware failures.
Facilities Operations | Dedicated operations and maintenance teams | High Availability – Operational oversight and maintenance activities support continuous service availability.
Colocation Facilities & Business Continuity – Risks and Observations
Area | Observation | Risk Level | Recommendation
Datacenter Operating Model | The Sault Area Hospital and Health Science North (Sudbury) datacenters operate in an Active/Passive configuration supporting 23 office Hospitals | Medium | Review long-term strategy to determine whether the current Active/Passive model aligns with business availability objectives and future growth requirements.
Critical Application Availability | Meditech Expanse is identified as a mission-critical application with a stated requirement for zero tolerance of unplanned downtime | High | Validate that current infrastructure, failover procedures, and recovery objectives support the application's availability requirements.
Disaster Recovery Failover | Failover to the secondary datacenter requires manual intervention and multiple operational activities during a site outage | High | Review and document failover procedures, identify automation opportunities, and conduct periodic failover testing.
Recovery Time Objectives | Documented RTOs exist for critical services including Meditech Expanse. However, actual failover execution complexity may impact achievement under real outage conditions | High | Validate that DR procedures, testing outcomes, and operational readiness consistently meet defined RTO targets.
Inter-Datacenter Latency Requirements | Meditech Expanse requires latency below 2 ms; datacenters are separated by approximately 310 km over a 10 Gbps dark fiber link. This physical separation may inherently limit the ability to consistently meet strict latency requirements for active workload mobility. | High | Option A: Engage ISP/dark fiber provider to validate whether path optimization (e.g., route engineering, direct wave services, or lower-latency optical path design) is possible to minimize latency within physical constraints and confirm if application requirements can be realistically achieved in the current architecture. Option B: Evaluate a strategic architecture shift for Meditech Expanse to a cloud-based DR or active standby model using a hyperscaler to reduce dependency on long-distance synchronous latency-sensitive inter-datacenter connectivity, and consider decommissioning or reducing reliance on the secondary physical DR site for this workload.
Geographic Separation | Datacenters are connected via a 10 Gbps dark fiber link spanning approximately 310 km | Medium | Periodically review bandwidth utilization, latency, and growth requirements to ensure continued support of critical applications and replication services.
Inter-Site Dependency | Business continuity, storage replication, disaster recovery, and application recovery processes depend on the availability of the inter-datacenter dark fiber connection | Medium | Review network resiliency, carrier diversity, and contingency procedures for inter-site connectivity failures.
DR Operational Readiness | The effort required to recover Meditech Expanse during a primary site outage has not been validated through discovery | High | Perform end-to-end disaster recovery testing and validate operational readiness against business expectations.
Business Impact | A prolonged outage of the primary datacenter could significantly impact clinical and operational services across all supported Hospital locations | High | Review business continuity plans and ensure recovery procedures are aligned with Hospitals criticality requirements.
Colocation Facilities & Business Continuity – Executive Assessment Ratings
Domain | Assessment Ratings
Facility Infrastructure
Geographic Resiliency
Power Infrastructure
Cooling Infrastructure
Fire Protection
Physical Security
Facilities Operations & Maintenance
Equipment Lifecycle Management
Rack Density & Power Capacity
Operational Readiness
Scalability
Business Continuity Support
Disaster Recovery Readiness
Inter-Site Resiliency

## SCD
Storage Compute & Data Protection – Datacenter Infrastructure
Domain | Component | Current State Discovery | Datacenter (SAH) | Datacenter (HSN) | Validation Required
Storage | Enterprise Storage Array | Dell PowerMax 2000 | 1 | 1
| NAS / File Storage | Dell PowerScale A310 Cluster | 6 Nodes | 6 Nodes
| SAN Fabric | Dell MDS9148 Fibre Channel Switch | 2 | 2
Backup | Backup Appliance | Dell Data Domain 6900 | 1 | 1
| Backup Software | Dell NetWorker | Present | Not listed
| Replication Appliance | Dell RecoveryPoint Appliances 60TB remote / 20TB local replication configured | 2 Appliances | 2 Appliances
Cyber Recovery | Cyber Recovery Vault | DD6400 + 2 Dell Servers + 2 Dell S4112F | Present | Not listed
| CyberSense | Present | Validate malware analytics integration | Not listed
Security Monitoring | Endpoint Detection & Response (EDR) | CrowdStrike Falcon | Present | Present
Security Monitoring | Security Information & Event Management (SIEM) | CrowdStrike Platform | Present | Present
Security Monitoring | Infrastructure Monitoring Coverage | Compute, Storage, Virtualization and Infrastructure Assets | Present | Present
Security Monitoring | Threat Detection & Incident Response | Centralized Monitoring and Alerting | Present | Present
Compute Infrastructure
Domain | Component | Current State Discovery | Datacenter (SAH) | Datacenter (HSN) | Validation Required
Compute | Blade Servers | Cisco UCS B200 | 20 | 20
| Blade Chassis | Cisco UCS Chassis | 6 | 6
Virtualization | VMware vSphere Licensing | 76 Processor Licenses | Yes | Shared
| VMware Site Recovery Manager | 475 Enterprise Licenses | Yes | Shared
| VMware Clusters | TBD | TBD | TBD
Storage Network Infrastructure
Domain | Component | Current State Discovery | Datacenter (SAH) | Datacenter (HSN) | Validation Required
Network | Storage Switches | Dell S4112F | Present | Present
| Fiber channel SAN switches | Dell MDS9148 | Present | Present

## SCD_Observations
Storage Compute & Data Protection - High Availability Assessment
Layer | Current State | Assessment
Enterprise Storage | Dell PowerMax 2000 deployed in both datacenters | High Availability – Enterprise storage arrays are deployed across both datacenters, providing resilient storage services and eliminating single-site dependency.
File Storage | Dell PowerScale A310 clusters deployed in both datacenters | High Availability – Distributed scale-out NAS architecture provides resilient file services and supports continued operations during component failures.
SAN Fabric | Dual Dell MDS9148 Fibre Channel switches per datacenter | High Availability – Redundant SAN fabrics provide multiple storage paths and minimize the risk of storage connectivity outages.
Backup Infrastructure | Dell Data Domain 6900 deployed in both datacenters | High Availability – Backup storage infrastructure is available at both sites, supporting data protection and recovery operations.
Backup Replication | Dell RecoveryPoint deployed across both datacenters | High Availability – Replication services support data recovery and business continuity objectives across geographically separated sites.
Compute Infrastructure | Cisco UCS B200 blade servers deployed across both datacenters | High Availability – Compute resources are distributed across both datacenters, reducing dependency on a single location and supporting workload resiliency.
Compute Chassis | Six UCS chassis per datacenter | High Availability – Multiple chassis provide hardware redundancy and capacity distribution across the compute environment.
Virtualization Platform | VMware vSphere deployed across both datacenters | TBC
Disaster Recovery Platform | VMware SRM licensed and available | TBC
Cyber Recovery Infrastructure | Cyber Recovery Vault & Cyber Sense deployed only in Datacenter A | Limited Availability – CyberSense provides ransomware and corruption detection capabilities, but analytics services are not geographically distributed.
Application Cyber Protection | Cyber Recovery currently protects Meditech LIVE only | Partial Coverage – Cyber recovery controls are implemented for only Meditech application; however, protection does not currently extend to other business-critical workloads due to space limitations.
Endpoint Detection & Response | CrowdStrike EDR deployed across datacenter infrastructure | High Availability – Cloud-delivered endpoint protection provides continuous monitoring, threat detection, and response capabilities across infrastructure assets.
Security Monitoring Platform | CrowdStrike SIEM services implemented | High Availability – Centralized security monitoring and event analytics enhance visibility and support rapid incident detection and response activities.
Scalability Assessment
Component | Current State | Scalability Assessment
Dell PowerMax Storage | Deployed in both datacenters | Excellent – Enterprise storage platform provides significant capacity expansion capabilities and supports future workload growth with minimal architectural changes.
Dell PowerScale Storage | 6-node clusters in both datacenters | Excellent – Scale-out architecture enables non-disruptive expansion of capacity and performance by adding additional nodes as business requirements increase.
Dell Data Domain | Deployed in both datacenters | Good – Backup storage infrastructure supports future growth; ongoing capacity planning should ensure alignment with backup retention and data growth requirements.
Dell RecoveryPoint | Replication appliances deployed at both sites | Good – Replication platform supports growth of protected workloads; capacity and replication throughput should be periodically reviewed as data volumes increase.
SAN Infrastructure | Dual Fibre Channel fabrics | Good – Redundant SAN architecture supports additional storage and compute connectivity while maintaining resiliency.
Cisco UCS Platform | 40 UCS B200 servers across two sites | Excellent – Blade infrastructure provides flexibility to expand compute capacity through additional server blades and resource scaling.
VMware Platform | Enterprise virtualization environment | TBC
VMware SRM | Enterprise licensing available | TBC
Cyber Recovery Vault | Single-site deployment | Moderate – Existing platform supports cyber recovery requirements for current protected workloads; scalability is constrained by single-site deployment and operational scope.
CyberSense | Single-site deployment | Moderate – Analytics platform supports current cyber recovery use cases; expansion of protected workloads may require additional sizing and coverage review.
Cyber Recovery Coverage | Limited to Meditech application | Limited – Current cyber recovery scope protects a single critical application and does not yet scale across the broader application portfolio.
Endpoint Detection & Response | CrowdStrike Falcon Platform | Excellent – Cloud-native EDR platform scales efficiently as additional servers, virtual machines, and infrastructure assets are onboarded.
Security Information & Event Management | CrowdStrike SIEM Services | Excellent – Cloud-delivered SIEM architecture supports growth in log volume, monitored systems, and security analytics requirements without significant infrastructure investment.
Security Monitoring Coverage | Datacenter Infrastructure Assets | Excellent – Monitoring platform can be extended to additional infrastructure, workloads, and business applications as the environment grows.
Risks and Observations
Area | Observation | Risk Level | Recommendation
Cyber Recovery Coverage | Cyber Recovery Vault and CyberSense currently protect only the Meditech application. | High | Assess additional critical applications for inclusion within the Cyber Recovery program.
Cyber Recovery Scope | Cyber recovery processes are limited to a subset of business services. | High | Establish a cyber recovery roadmap aligned to business-critical application tiers.
Cyber Recovery Site Dependency | Cyber Recovery Vault and CyberSense are deployed only in Datacenter A. | Low | Review cyber recovery strategy and determine whether geographic diversification is required to meet organizational recovery objectives.
Backup Platform Coverage | Dell NetWorker deployment is only identified in Datacenter A during discovery. | Low | Validate backup management architecture and confirm operational design.
Executive Assessment Ratings
Domain | Assessment Ratings
Compute Infrastructure
Virtualization Platform
Enterprise Storage
File Storage
SAN Infrastructure
Backup & Recovery
Replication Services
High Availability
Scalability
Disaster Recovery Readiness
Cyber Recovery Infrastructure
Cyber Recovery Coverage
Endpoint Detection & Response

## Cisco-ACI
Network Infrastructure – Cisco ACI Current State
Domain | Component | Datacenter (SAH) | Datacenter (HSN) | HA / Resiliency | Validation Required
Network | Cisco ACI Deployment Model | Multi-Pod | Multi-Pod | Dual Pod Architecture
| ACI Pod ID | Pod 1 | Pod 2 | Active Fabric
| TEP Network | 10.255.0.0/16 | 10.254.0.0/16 | Unique per Pod
| APIC Controllers | APIC1, APIC2 | APIC3, APIC4 | Distributed Controller Cluster
| Spine Layer | Spine101, Spine102 | Spine111, Spine112 | Dual Spine Redundancy
| Leaf Layer | Leaf201, Leaf202 | Leaf301, Leaf302 | Dual Leaf Redundancy |  | Number of switches to be confirm
| Inter-Pod Network | DCI1, DCI2 | DCI3, DCI4 | Multi-Pod Connectivity
ACI Tenant and Routing Design
Category | Current State | Validation Required
Tenant | OneProd
VRF | Default_VRF
L3Out | Configured
External Routed Domain | OneProd_ExRoutedDom
VLAN Pool | OneProd_StaticVLPool
External Connectivity | Via L3Out
Segmentation Model | VRF-based tenant isolation
ACI Connectivity Matrix Datacenter SAH (Pod 1)
Source | Destination | Speed | Redundancy | Validation Required
APIC1 | Leaf201 & Leaf202 | 10G | Dual Connected
APIC2 | Leaf201 & Leaf202 | 10G | Dual Connected
Leaf201 | Spine101 & Spine102 | 100G | Fully Redundant
Leaf202 | Spine101 & Spine102 | 100G | Fully Redundant
Spine101 | DCI1 & DCI2 | 100G | Redundant
Spine102 | DCI1 & DCI2 | 100G | Redundant
ES2 N9K-C9348GC-FXP | Pod2 IPN | 10G | Single Path Validation Required
Palo Alto Firewall 5200 (Active) | Leaf201 & Leaf202 (Inside Interfaces) | 2 × 10G | Fully Redundant |  | Vendor support EOL 31st Aug 2028, PAN OS 11.2
Palo Alto Firewall 5200 (Active) | Spine101 & Spine102 (Outside Interfaces) | 2 × 10G | Fully Redundant
Cisco ISE Primary Node | ACI Fabric | 10G/Server Connectivity | Fully Redundant
Citrix NetScaler | ACI Fabric | Application Connectivity | Load Balancing for VDI & Meditech Live
Ontario Health WAN Circuit | Palo Alto Firewall | 10G | Primary WAN Connectivity
ISP Internet Circuit | Palo Alto Firewall | 10G | Internet Connectivity
Panorama Management | Palo Alto Firewall Cluster | Management Network | Centralized Firewall Management
Cisco DUO MFA Service | Integrated with VPN / Application Authentication | Secure Authentication | Cloud Hosted
Microsoft MFA | M365 Applications | Secure Authentication | M365 Tenant
ACI Connectivity Matrix Datacenter HSN (Pod 2)
Source | Destination | Speed | Redundancy | Validation Required
APIC3 | Leaf301 & Leaf302 | 10G | Dual Connected
APIC4 | Leaf301 & Leaf302 | 10G | Dual Connected
Leaf301 | Spine111 & Spine112 | 100G | Fully Redundant
Leaf302 | Spine111 & Spine112 | 100G | Fully Redundant
Spine111 | DCI3 & DCI4 | 100G | Redundant
Spine112 | DCI3 & DCI4 | 100G | Redundant
ES2 N9K-C9348GC-FXP | Pod1 IPN | 10G | Single Path Validation Required
Palo Alto Firewall 5200 (Passive) | Leaf301 & Leaf302 (Inside Interfaces) | 2 × 10G | Fully Redundant |  | Vendor support EOL 31st Aug 2028, PAN OS 11.2
Palo Alto Firewall 5200 (Passive) | Spine111 & Spine112 (Outside Interfaces) | 2 × 10G | Fully Redundant
Cisco ISE Secondary Node | ACI Fabric | 10G/Server Connectivity | Fully Redundant
Citrix NetScaler (Secondary) | ACI Fabric | Application Connectivity | Load Balancing for VDI & Meditech Live
Ontario Health WAN Circuit | Palo Alto Firewall | 10G | Secondary WAN Connectivity (Standby)
ISP Internet Circuit | Palo Alto Firewall | 10G | Secondary Internet Connectivity (Standby)
Panorama Management | Palo Alto Firewall Cluster | Management Network | Centralized Firewall Management
Cisco DUO MFA Service | Integrated with VPN / Application Authentication | Secure Authentication | Cloud Hosted
Microsoft MFA | M365 Applications | Secure Authentication | M365 Tenant
Inter-Datacenter Connectivity Assessment
Connection | Speed | Status | Observation | Validation Required
DCI1 ↔ DCI3 | 10G | Active | Primary Inter-Pod Link
DCI2 ↔ DCI4 | 10G | Configured but disconnected | Manual Failover Required
Inter-Pod Network | Multi-Pod | Operational | Validate latency and MTU
Spine to DCI | 100G | Fully Redundant | Strong design
DCI Diversity | Partial | Requires Validation | Secondary DCI path not active
ACI Routing Architecture
Layer | Component | Current State | Validation Required
Underlay Network | Routing Protocol | OSPF
Underlay Network | OSPF Area | Area 0.0.0.0
Underlay Network | VRF | infra (tn-infra)
Underlay Network | Purpose | Fabric infrastructure routing (TEP reachability)
Overlay Network | Tenant | OneProd
Overlay Network | VRF | Default_VRF
Overlay Network | External Connectivity | L3Out
Overlay Network | Routing Protocol | BGP
Overlay Network | BGP ASN | 65001
Overlay Network | External Routed Domain | OneProd_ExRoutedDom
Overlay Network | VLAN Pool | OneProd_StaticVLPool

## Cisco-ACI_Observations
Cisco ACI - High Availability Assessment
Layer | Current State | Assessment
APIC Controllers | 4 APIC Controllers distributed across Pod1 and Pod2 | High Availability – Controller redundancy across sites provides resilient fabric management
Spine Layer | 2 Spines per Pod (4 total) | High Availability – No single point of failure within each pod
Leaf Layer | 4 Leafs per Pod (8 total) | High Availability – Redundant leaf architecture supporting endpoint resiliency
Fabric Connectivity | Redundant 100G Leaf-to-Spine and Spine-to-DCI links | High Availability – Fully redundant fabric paths
TEP Network | Dedicated TEP ranges (10.255.0.0/16 and 10.254.0.0/16) | Best Practice – Supports scalable Multi-Pod architecture
Underlay Routing | OSPF Area 0.0.0.0 within tn-infra VRF | High Availability – Industry-standard underlay design
Tenant Segmentation | Tenant-based VRF architecture (OneProd / Default_VRF) | Best Practice – Strong logical segmentation
L3Out Routing | BGP ASN 65001 configured for external routing | High Availability – Dynamic routing supports automated route convergence
DCI Connectivity | DCI1↔DCI3 active, DCI2↔DCI4 configured but disconnected | Medium Risk – Reduced inter-site path redundancy
Inter-Pod Failover | Partial automation with manual DCI failover dependency | Improvement Opportunity – Validate operational procedures and failover testing
Firewall Infrastructure | Palo Alto 5200 Firewalls deployed Active/Passive across both datacenters | High Availability – Enterprise grade perimeter security
Firewall Connectivity | Dual 10G inside connections to ACI Leafs and dual 10G outside connections to ACI Spines | High Availability – Redundant data paths
WAN Connectivity | Dual 10G WAN circuits to Ontario Health and Internet services | High Availability – Redundant external connectivity
Identity Services | Cisco ISE Primary and Secondary nodes deployed across datacenters | High Availability – Redundant Authentication Authorization Accounting (AAA) services
VPN Services | GlobalProtect VPN integrated with Cisco ISE and Palo Alto | High Availability – Resilient remote access platform
Scalability Assessment
Component | Current State | Scalability Assessment
APIC Cluster | 4 APIC Controllers | Good – Supports current dual-pod deployment
Spine Layer | 2 Spines per Pod | Good – Adequate for current scale; future growth may require additional spines
Leaf Layer | 2 Leafs per Pod | Good – Supports current workload density; expansion possible through additional leafs
TEP Address Space | /16 per Pod | Excellent – Significant growth capacity
Tenant Architecture | VRF-based segmentation | Excellent – Supports additional tenants and application isolation
Network Segmentation EPG/Bridge Domain Model | One EPG to One BD per VLAN | Excellent – Operationally simple and scalable
Underlay Routing | OSPF Area 0 | Excellent – Scalable and operationally simple
External Connectivity | BGP-based L3Out | Excellent – Supports future network expansion
Inter-Pod Connectivity | Single active 10G DCI path | Moderate – May become a bottleneck during DR events, storage replication, or workload mobility
Multi-Pod Design | Cisco ACI Multi-Pod Architecture | Excellent – Designed for large-scale datacenter growth
Firewall Infrastructure | Palo Alto Active/Passive deployment | Good – Supports current throughput and security requirements
WAN Connectivity | Redundant 10G WAN and Internet circuits | Good – Supports current connectivity demands
Identity Services | Cisco ISE distributed across both sites | Excellent – Supports infrastructure growth and policy expansion
VPN Services | GlobalProtect integrated with ISE | Excellent – Scalable remote access architecture
Risks and Observations
Area | Observation | Risk Level | Recommendation
DCI Redundancy | DCI2↔DCI4 link is configured but not physically connected. Inter-pod communication currently relies on a single active DCI path (DCI1↔DCI3). | Medium | Activate and validate the secondary DCI path to provide full inter-site path redundancy.
Inter-Pod Bandwidth | Active inter-pod connectivity is limited to 10G between datacenters. | High | Validate bandwidth utilization against storage replication, DR recovery, workload mobility, and future growth requirements.
DCI Failover | Failover to the secondary DCI path requires manual intervention. | Medium | Review failover procedures and evaluate opportunities for automated failover.
DR Readiness | Disaster recovery testing frequency and failover validation were not reviewed during discovery. | Medium | Review DR test results, recovery procedures, and failback processes.
Storage and Network Dependency | PowerMax, RecoveryPoint, Data Domain replication, and VMware SRM rely on inter-datacenter connectivity; network capacity requirements have not been validated. | Medium | Validate network capacity and resiliency against recovery objectives and replication workloads.
Executive Assessment Ratings
Domain | Assessment Ratings
Network Architecture
Security Architecture
Identity & Access Management
High Availability
Scalability
Disaster Recovery Readiness
Operational Maturity

## AD
Active Directory, Identity & File Services – Current State Discovery
Domain | Component | Current State Discovery | Datacenter A | Datacenter B | Validation Required
Active Directory | Forest Name | OneHits Forest | Present | Present | ☐
| Domain Controllers | 4 Domain Controllers (2 per datacenter) | 2 | 2 | ☐
| Global Catalog | Enabled on all Domain Controllers | Yes | Yes | ☐
| FSMO Roles | Distributed across all 4 Domain Controllers | Distributed | Distributed | ☐
| Operating System | Windows Server 2016 Forest Functional Level; Mixed Server 2019/2022 | Mixed | Mixed | ☐
Virtualization | Hosting Platform | VMware vSphere 8 with High Availability and SRM | Present | Present | ☐
Identity Federation & Authentication Services
Domain | Component | Current State Discovery | Datacenter A | Datacenter B | Validation Required
Identity Federation | ADFS | Federated Identity Services Enabled | Present | Present | ☐
Authentication | Enterprise Authentication | Centralized Active Directory Authentication | Present | Present | ☐
Identity Integration | Third-Party Systems | Integration with audit, compliance, reporting, and clinical systems | Present | Present | ☐
Reporting Systems | PowerBI / SSRS / Data Platforms | Integrated via AD Authentication | Present | Present | ☐
Clinical Systems | MEDITECH Integration | Domain-based authentication and audit traceability | Present | Present | ☐
Voice Services | Dictation Systems (e.g., Nuance) | AD-integrated authentication | Present | Present | ☐
Member site Trust Architecture
Domain | Component | Current State Discovery | Datacenter A | Datacenter B | Validation Required
Trust Model | External Trust Type | Two-Way Non-Transitive External Trust per Member site | Present | Present | ☐
Trust Scope | Forest Relationship | OneHits ↔ Each Member site Domain (Individual Trusts) | Present | Present | ☐
Trust Isolation | Transitive Trust Control | No transitive trust between Member sites | Enforced | Enforced | ☐
Authentication Scope | Mutual Authentication | Enabled between OneHits and Member site domains | Present | Present | ☐
Trust Establishment Governance & Prerequisites
Domain | Component | Current State Discovery | Datacenter A | Datacenter B | Validation Required
Trust Onboarding Governance | Security & Privacy Compliance Framework | Required prior to trust creation for Member sites | Enforced | Enforced | ☐
Network Readiness | Site-to-Site VPN Connectivity | Fully operational and required before trust establishment | Present | Present | ☐
Connectivity Validation | Bidirectional Communication | Required between OneHits DCs and Member site domains | Validated | Validated | ☐
Secure Access Enablement | Authentication & Service Access Readiness | Required prior to onboarding remote domains | Enforced | Enforced | ☐
Centralized Management Access | Infrastructure Management Connectivity | Required for AD, file services, and monitoring access | Enabled | Enabled | ☐
File Services, Data Distribution & Security
Domain | Component | Current State Discovery | Datacenter A | Datacenter B | Validation Required
File Services | SMB Protocol Version | SMBv3 Enabled | Yes | Yes | ☐
| File Access Model | AD-controlled secure file access | Present | Present | ☐
| Data Distribution Model | One-way controlled file shares to Member sites | Present | Present | ☐
| MEDITECH Data Export | System-generated reports, payroll, and clinical file distribution | Present | Present | ☐
| Security Control Model | AD-based authentication and access control | Present | Present | ☐
| MEDITECH File Server Architecture | File services include single-instance dependencies due to MEDITECH application design constraints | Present | Present | ☐
| High Availability Design | File servers are not fully HA-enabled for certain workloads | Partial | Partial | ☐
| Production Dependency Model | Some production transaction services depend on lower environment (training/test) systems | Present | Present | ☐
| Maintenance Impact Model | Patch cycles and server reboots in non-production environments impact production services | Present | Present | ☐
| File Access Availability | Member Sites experience downtime during maintenance windows due to shared dependencies | Occasional Downtime | Occasional Downtime | ☐
Host Security | Windows Firewall | Windows Firewall disabled on all servers due to application (MEDITECH) port and service requirements | Disabled | Disabled | ☐
Application Dependency | MEDITECH Network Access Requirements | Requires unrestricted inter-service communication across application tiers and ports | Present | Present | ☐
Security Control Model | Host-based Firewall Enforcement | Not enforced at OS level across servers | Not Active | Not Active | ☐
Operating System Landscape
Domain | Component | Current State Discovery | Datacenter A | Datacenter B | Validation Required
Windows Server | Domain Controller OS | Windows Server 2016 Functional Level | Present | Present | ☐
| Server OS Mix | Windows Server 2019 and 2022 mixed environment | Mixed | Mixed | ☐

## AD_Observations
Active Directory, Identity & File Services – High Availability Assessment
Layer | Current State | Assessment
Active Directory Forest | OneHits single forest with 4 DCs across 2 datacenters | High Availability – Multi-site domain controller deployment with Global Catalog redundancy ensures resilient authentication services across both datacenters.
Domain Controller Design | 2 DCs per datacenter with FSMO roles distributed | High Availability – Distributed FSMO roles and multi-site DC placement reduce dependency on any single domain controller.
Virtualization Hosting | VMware vSphere 8 with HA and SRM | High Availability – Hypervisor clustering and SRM provide infrastructure-level resiliency for domain controller workloads.
Authentication Services | AD + ADFS federated identity | High Availability – Redundant authentication and federation services ensure continuous identity access across enterprise applications.
Member site Trust Model | Two-way non-transitive external trusts per member site | High Availability – Trust isolation model limits blast radius and maintains controlled authentication boundaries.
Trust Governance Framework | VPN + security + privacy prerequisites enforced prior to trust creation | Best Practice – Structured onboarding model ensures only compliant and network-ready sites are integrated into enterprise identity services.
File Services (SMBv3) | Secure AD-integrated SMBv3 file distribution | High Availability – Secure and controlled file distribution model supports consistent data delivery to Member sites.
File Server Architecture | Single-point dependencies exist due to MEDITECH design limitations | Limited Availability – Certain file services and transaction workloads rely on non-redundant server components, creating single points of failure.
Production Transaction Services | Dependency on lower environment (test/training) systems identified | Limited Availability – Production stability is impacted by non-production system maintenance activities, introducing unintended coupling.
Maintenance & Patching Model | Patch windows impact dependent production services | Medium Availability Risk – Maintenance activities require careful coordination due to shared service dependencies.
Member Sites File Access | Downtime observed during maintenance windows | Limited Availability – Remote office productivity impacted during backend service maintenance.
MEDITECH Application Architecture | Tight coupling between application tiers and supporting infrastructure | Limited Availability – Application design constraints reduce ability to fully implement infrastructure-level HA.
Identity-Dependent Applications | MEDITECH, reporting, audit, clinical systems | High Availability – Critical applications rely on redundant AD authentication and federated identity services.
Active Directory, Identity & File Services – Scalability Assessment
Component | Current State | Assessment
Active Directory Forest | Single forest (OneHits) | Excellent – Single forest design provides simplified identity management and strong enterprise scalability.
Domain Controllers | 4 DCs across 2 sites | Good – Adequate scale with clear expansion path for additional domain controllers as user load increases.
Trust Model | External non-transitive trusts per Member site | Moderate – Scales operationally, but management complexity increases with growing number of Member sites.
Trust Governance Model | Security, privacy, and VPN prerequisites enforced | Good – Strong controlled onboarding model improves scalability governance, though requires operational oversight.
ADFS Federation | Enterprise federated identity platform | Excellent – Supports scalable integration with cloud, SaaS, and third-party applications.
File Services Model | Central-to-remote SMBv3 distribution | Good – Scales for controlled distribution, but performance is dependent on central file service capacity.
File Server Architecture | Single-instance dependencies present | Limited – Scalability is constrained due to tightly coupled application and server dependencies.
MEDITECH Environment Design | Cross-environment dependencies (prod ↔ non-prod) exist | Limited – Scaling or upgrading environments requires careful dependency mapping to avoid production impact.
Maintenance Model | Shared services impacted by patching | Moderate – Operational scaling is constrained by fragile dependency structure.
Member Sites Access Model | Central dependency on shared file services | Moderate – Expands operational risk as number of Member Sites increases.
Server OS Landscape | Mixed Windows Server 2019/2022 | Moderate – Mixed OS environment introduces lifecycle management complexity and limits long-term scalability efficiency.
Active Directory, Identity, File Services & Security – Risks and Observations
Area | Observation | Risk Level | Recommendation
Server OS Standardization | Mixed Windows Server 2019, and 2022 across environment | Medium | Standardize OS versions to reduce operational complexity, improve security posture, and simplify lifecycle management.
Trust Model Complexity | Individual external trusts per Member site domain | Medium | Evaluate trust consolidation or modernization (e.g., identity federation or centralized trust model) as Member sites increase.
Single Forest Dependency | Entire enterprise identity depends on OneHits forest | Medium | Ensure robust forest recovery planning and periodic disaster recovery testing for identity services.
File Distribution Dependency | Centralized SMBv3 file distribution model | Low–Medium | Monitor performance and scalability for large MEDITECH and operational file exports to Member sites.
Single Point of Failure in File Services | Certain file server components are not deployed in a fully redundant HA configuration due to MEDITECH architectural constraints | High | Engage MEDITECH vendor to redesign file service dependency model and introduce HA-compatible architecture where possible.
Cross-Environment Dependency (Prod ↔ Non-Prod) | Production transaction services depend on training/test environment components | Critical | Immediately isolate production workloads from non-production dependencies; validate architecture boundaries with MEDITECH.
Maintenance Impact on Production | Patching or rebooting non-production systems impacts production services | High | Implement dependency mapping and decouple shared services to ensure production isolation.
Member Sites Downtime During Maintenance | Member Sites experience service interruption during backend maintenance windows | Medium | Introduce HA file service layer or replication-based access model to reduce dependency on single systems.
MEDITECH Architectural Constraint | Application design enforces tight coupling between tiers and limits infrastructure-level HA implementation | High | Conduct joint architecture review with MEDITECH vendor to identify supported HA patterns and redesign options.
Lack of Service Isolation | Shared services between environments introduce unintended production impact | Critical | Enforce strict environment segmentation (Prod vs Non-Prod) at compute, storage, and network layers.
ADFS Dependency | Federated identity relies on ADFS infrastructure | Medium | Ensure high availability and evaluate long-term modernization path (e.g., cloud identity integration).
Trust Onboarding Dependency | Member site onboarding requires VPN + compliance validation | Low | Maintain governance framework and periodically validate onboarding checklist effectiveness.
Network Dependency | Trust relationships rely on stable site-to-site VPN connectivity | Medium | Ensure redundancy and monitoring of VPN infrastructure to avoid identity service disruption.
Host-Based Firewall Security | Windows Firewall is disabled across all servers to support MEDITECH application port and service requirements | High | Reintroduce host-based firewall controls using application-aware ruleset design, allowing only required MEDITECH ports/services while blocking all non-required traffic.
Application Dependency on Open Ports | MEDITECH architecture requires broad inter-server communication across multiple services and ports | High | Engage MEDITECH vendor to define minimal required port matrix and implement least-privilege network segmentation.
Loss of Host-Level Defense-in-Depth | Disabling Windows Firewall removes a key layer of endpoint protection within server operating systems | High | Implement compensating controls such as network segmentation, micro-segmentation, and internal firewalling at virtual switch or distributed firewall layer (e.g., VMware NSX or ACI policy).
Lateral Movement Risk | Lack of host firewall increases potential lateral movement pathways between servers within the same trust boundary | High | Introduce micro-segmentation policies between application tiers and restrict east-west traffic using network-level enforcement.
Compliance & Security Posture | Disabled host firewall may not align with baseline security frameworks (e.g., CIS benchmarks) | Medium | Document exception formally and align with security baseline exception governance process.
Executive Assessment Ratings
Domain | Assessment Ratings
Active Directory Architecture | 🟢 High
Identity & Federation Services (ADFS) | 🟢 High
Authentication Services | 🟢 High
Member site Trust Architecture | 🟢 High
Trust Governance Framework | 🟢 High
File Services & MEDITECH Dependency Layer | 🟢 Limited
High Availability (End-to-End) | 🟢 Medium
Scalability | 🟢 Medium
Operational Maturity | 🟡 Medium
Risk Posture | 🟢 Medium
Rating | Definition
🟢 High | The capability is mature, resilient, and aligned with current business requirements. Architecture, processes, and controls are operating effectively with no significant gaps identified. Only minor optimization opportunities may exist.
🟡 Medium | The capability generally meets current business requirements; however, notable gaps, dependencies, operational challenges, or improvement opportunities have been identified. These should be addressed through planned remediation and future-state initiatives.
🔴 Low | Significant deficiencies, risks, or operational challenges exist that may negatively impact service availability, security, scalability, compliance, or business continuity. Remediation should be prioritized.
⚫ Limited | The capability exists but is constrained by design limitations, partial implementation, application dependencies, single points of failure, restricted coverage, or operational constraints. While functional, it does not fully meet enterprise resiliency, availability, scalability, or security objectives.